Board Approved August 31, 2005

PLEASE NOTE:  Owners must submit a written request to the Board of Directors prior to the commencement of any work.

SOUTH COVE HEIGHTS CONDOMINIUM ASSOCIATION

RESOLUTION GUIDELINES FOR AIR CONDITIONING SYSTEMS

Pursuant to the By-Laws of the South Cove Heights Condominium Association, now, therefore, be it resolved that the Board of Directors has adopted the following resolution governing Guidelines for Air Conditioning Systems. Whereas, it is the intent that these guidelines shall be applicable to all Owners and their Renters and Guests, and this resolution shall remain in effect until otherwise rescinded, modified, or amended by a majority of the Board of Directors.

I.  Central Air Conditioning System with External Condensing Unit:

External Condensing Unit

The condensing unit may not exceed 3 tons.

The size and location of the condensing unit must be approved by the Board of Directors prior to installation. 	No new installation will be allowed on the deckside of a condominium unit.

The decibel level of the condensing unit may not exceed 70.

The condominium unit owner will provide manufacturer’s specifications relative to size and decibel level of the 	condensing unit to the Board of Directors for approval.

Piping

All external piping must be enclosed in a wooden chase stained to match the condominium unit.

Fencing

The condominium unit owner is responsible for the cost to shield the condensing unit with a wooden fence 	stained to match the condominium unit, the design of which will be standardized and approved by the Board of 	Directors.

II. Central Air Conditioning System with Internal Condensing Unit:

Subject to Board approval, the installation of central air conditioning systems with internal condensing units is 	permitted providing that all mechanical components are located within the condominium unit.

III. Internal Portable Air Conditioning Unit:

Subject to Board approval, the installation of internal portable air conditioning units is permitted providing 	that all mechanical components are located within the condominium unit.

IV. Through-Wall Air Conditioning Units:

The installation of through-wall air conditioning units is expressly prohibited.

V.  Responsibility:

The condominium unit owner is responsible for all expenses associated with the installation of the air 	conditioning system and all related equipment and accessories as well as any future maintenance thereof, 	including any consequential damages to the condominium unit resulting from improper installation, faulty 	operation, or inadequate maintenance.

SOUTH COVE HEIGHTS BOARD OF DIRECTORS

Rick Hartman, President

Jim Fear

Arnie Quiros