WC D Mini-Split Air/Heat Guidelines 2019


WEST COVE D CONDOMINIUM ASSOCIATION

BOARD OF DIRECTORS

GUIDE FOR BOARD APPROVAL OF REQUESTS TO INSTALL 

MINI-SPLIT HEATING/AIR CONDITIONING SYSTEM 
The following are the guidelines to be used by the West Cove D (WCD) Board of Directors in responding to requests from unit owners who want to install a mini-split heating/air conditioning system in their condominium. Owners must submit their requests, before any work commences, via the WCD Architectural Variance Request Form. The Board will respond with their decision as swiftly as possible but have a maximum of thirty days to respond. The information listed below is subject to change at the sole discretion of the Board. This document is not an approval, only a guide; the final written Board of Directors approval and mandatory conditions issued by the Board in any final approval, supersedes this document.
A. All installation and maintenance (in accordance with system manufacturer’s

recommendations or as requested by the Board) of any such system so installed shall be the sole responsibility and expense of the Unit Owner and such responsibility shall continue with all succeeding owners of the Unit. Each requesting owner shall be required to sign and return an original copy of the Transfer of Responsibility form as part of the approval process.  The Board will not approve any requests to install Mini-Split air conditioning without a signed Transfer of Responsibility form.  Installation must be performed by a licensed and insured contractor.
B. Only systems designed to, and operating at, 55 decibels or less will be considered for approval.
C. The location of the external condensers shall be determined by the Board, in their sole discretion, considering:

(1) the impact (sound and aesthetics) on abutters; 
(2) location of the condenser and any other materials should be convenient and easily accessible for installation and maintenance purposes; 

(3) unit owner preference;

(4) the maximum size of the condenser should be approximately 4’ X 4’ X 4’; and,

(5) the cost to remove and reinstall any exterior components, including the condenser, required for maintenance within the limited or common area shall be at the sole expense of the owner.

(6) the Board will seek input from abutters regarding condenser placement, but the Board shall have sole authority in such decisions. 
The condenser must be on a low stand to protect it from ground moisture, preferably on a vinyl/synthetic pad for additional noise muting purposes.
(1) Condensers should be located under deck areas whenever possible.

(2) If under-deck installation of the condenser is not feasible, condensers should be installed in a location that minimizes to the maximum extent possible, visual and sound impact to neighbor units.
D. A Unit Owner installing such a system shall be required (at Unit Owner’s

expense) to adequately screen or enclose the external condensers as directed by the Board. Screening/enclosure of condensers should be of a wood lattice type structure, painted/stained in a color fully consistent with that of the building exterior, and that must be maintained in a condition to fulfil its purpose at the sole expense of the Unit Owner.
E. All exterior piping of the system shall be of a color fully consistent with that of the building exterior.
F. In addition to the completed West Cove D [WCD] Architectural Request Form, Unit Owners must also submit: 

(1) A detailed sketch of the system;
(2) Detailed specifications of the system; (BTU’s, Condenser Size, Decibel rating)
(3) A sketch of where the condenser and all piping will be located; 

(4) All plumbers, electricians, propane technicians and/or other professionals involved in installing the system must provide their respective license numbers – it will not suffice to simply submit the name of a general contractor to identify who is doing the installation work; and,
(5) Insurance Certificates for Liability to include Worker’s Compensation for all employees and/or subcontractors of the professionals installing the system. All subcontractors must also provide their certificate of liability, and worker’s compensation if they have employees.  
G. These guidelines are solely related to ductless mini-split heating and air conditioning

Systems and other substantially similar systems with minimal decibel output (i.e. no more than

55 decibels) as determined by the Board.
1

